# How to build Detector MPI
DetectorMPI has been developed for RedHat Linux 64 bit. It has not been tested on Windows.
The steps for building and running DetectorMPI are as follows:
1. Download and Build QT. Tested w/ QT4.8.
2. Download and install QTCreator
3. Download and build MPICH version of MPI.
4. Download MPI Detector source code and QT project files.
5. Configure build environment for MPIDetector in QTCreator.
6. Build and Run MPI Detector, for single system.
7. For running on multiple computers on a network, configure computers.

Installing QT

Download the free communituy version of QT from
http://www.qt.io/download-open-source/

The online downloader will download be default to your Downloads folder.
cd Downloads
chmod +x qt-opensource-linux-x64-1.6.0-8-online.run
./qt-opensource-linux-x64-1.6.0-8-online.run

You should get the installation wizard to open:

Go through the wizard to install. If you do noat have root, it should do a local install.
If there are errors, download source from

http://www.qt.io/download-open-source/#section-2

Installing MPI

To build you must first install the mpich version of MPI. This can be downloaded from

http://www.mpich.org/downloads/

Get a stable release for platform called mpich. DetectorMPI was first tested with mpich-3.0.4, but should work with later versions. You will be getting a tar.gz file. Expand and untar the file:

gunzip mpichxxxx.tar.gz
tar -xvf mpichxxx.tar

To make the MPI program able to run on multiple systems the MPI library and executable MPI program must be installed on an NFS shared disk. Also, the absolute path to the MPI lib and software should be the same for all systems. That is, if one system sees the software in /mnt/mpidisk/mpisoftware then all the other systems should see the software in that path as well.

master $ tar xzf mpich.tar.gz
Create directory in mounted directory called: mpich-install. For example: /mnt/nfs/mpich-install . Then:
master $ cd /your/unzipped/mpi_libraries
master $ ./configure –prefix=/mnt/nfs/mpich-install 2>&1 | tee c.txt
master $ make 2>&1 | tee m.txt –j8
where -jn means make in n parallel threads. Then install it:
master $ make install 2>&1 | tee mi.txt
After installation, you should able to find mpi library under /mnt/nfs/mpich-install
Then, export the MPI bin path to environment variables, using editor to edit file .bash_profile:
master $ cd ~
master $ gedit .bash_profile
add the following line:
PATH=/mnt/nfs/mpich-install/bin:$PATH
export PATH
to check the environment variable. Restart the terminal, then type:
master $ which mpicc
master $ which mpiexec
The terminal should display mpich-install path. Until now, the MPI library has been installed successfully.

Setting up MPIDetector Build

There are two important project files

The detectorMPI.pro file is the project setup file that lists all files part of the project and defines which compiler to use. The MPI compiler must be defined in this file as shown below.

#-------------------------------------------------
#
# Project created by QtCreator 2011-12-08T16:30:52
#
#-------------------------------------------------
QMAKE_CXX = mpic++
QMAKE_CXX_RELEASE = $$QMAKE_CXX
QMAKE_CXX_DEBUG = $$QMAKE_CXX
QMAKE_LINK = $$QMAKE_CXX
QMAKE_CC = mpicc

QMAKE_CFLAGS += $$system(mpicc --showme:compile)
QMAKE_LFLAGS += $$system(mpicxx --showme:link)
QMAKE_CXXFLAGS += $$system(mpicxx --showme:compile) -DMPICH_IGNORE_CXX_SEEK -DUSE_MPI
QMAKE_CXXFLAGS_RELEASE += $$system(mpicxx --showme:compile) -DMPICH_IGNORE_CXX_SEEK

The other file is the detectorMPI.pro.user file that is the build configuration. This must be set up as well. The download includes several .user files for different systems. The one most suited for linux is .userXR21.

To start with this file

cp detectorMPIMPI.pro.userXR21detectorMPIMPI.pro.user

Then in QTCreator configure the build configurations. Once the build configuration is set up, you should be able to Build All from QTCreator. If BuildAll works, then save a copy of your .user file with
cp detectorMPIMPI.pro.userdetectorMPIMPI.pro.userMYCONFIG

In this way, if you install onto another system to build MPIDetector, you can stat with your new .user file.

You may have to add a compilier that QTCreator knows about. Goto the PROJECTS area in QTCreator. And Hit Manage Kits. There is an area to add compiler.

Add the compiler similar to above.

You can add an mpi kit, under add kits, like below:

Setting up running the MPI program from QTCreator.

Running the MPI program from command is done this way:

cd build_directory
/local/mpich-install/bin/mpiexec -n 2 xterm -e ./detectorMPI

The above commands are setting pwd to the directory containing the MPIDetector binary. We then yse mpiexec to launch the MPI program. -n 2 means we run two copies of the process. If we set -n 4 we would get 4 copies of the process. The xterm -e command forces the MPIDetecotor processes to run in an xterm, wich each process getting an xterm. This allows each process to have its own stdin and stdout. Without this, problems can happen. To set this up in QTCreator, set up the RUN configuraiton as below.

Debugging DetectorMPI with QTCreator

The easiest way to debug DetectorMPI is to start the program running from the command line or QT Creator. This is not debugging, but just running. Then connect to the running process you wish to debug with QTCreator. To debug several processes, you can start several instatnces of QTCreator.
The menu on QTCreator is Debug->StartDebugging->Connect to Running Application

# Theory of Operation

detectorMPI is designed in a way so a programmer need not know much about MPI to do parallel processing. It is necessary to understand the basics of C++ and QT.

The model of detector MPI is shown below. We have processes called “ranks” numbered 0 to N-1. Rank 0 is where fresh detector data arrives, and is scattered to all ranks. Rank 1 is the GUI and end of the processing line, where data is stored to disk. Other ranks just process data.

pipeReader
Detector
mpiScatter
Image
Queue

QT signal
Linx
pipe

mpiEngine

Rank 0

MPI messages, scattered iamges

Rank2

Rank3

mpiEngine
mpiEngine

MPI messages, gathered images

mpiGather
Image
queue
pipeWriter
GUI
display
Image
queue

mpiEngine

Linux out pipe
Rank 1

Rank 0 has a pipeReader that can either generate test images, or read images from a detector via a linux pipe. Image data is in a binaruy format defined in pipebinaryformat.cpp. Change this file to change the format. Images from the pipe are queued on a queue, and stored temporatluy. MpiGather gets the images off the queue, and scatters one image per rank. So if we have 4 ranks, we scatter 4 images. If we have only one iamge from detector, then only rank 0 gets data to chew on. MpiGather then brodcasets a signal to tell all ranks to process itheir images. Onece processing is done, a 2nd broadcast is sent out and rank 1 will gather all processed images from all ranks. These iamges are queued and sent to the pipeWriter, where they can be stored to the linux filesuystem. Then the iamges are sent to the gui for display. For setup of the calcs, the gui can send messages to all mpi ranks by firsting sending a message to rank0. Then rank0 broadcasts the settings to all the ranks, assuring all ranks have the same gui settings. These are the red arrows: gui sends QT signal to mpiengine inside gather obhect. MpiEngine translates message to MPI and sends to Rank0. Rank 0 in turn broadcasts the message to all ranks. In this way the GUI sets up all the ranks the same way.
## The Public Image

Each instance of MPI Engine in the group of processes has “public images.” Public images are memory spaces in each rank that can be transferred between ranks. When setting up the system, the programmer declares how large the piblic images are, and how many. There are ushort images and double iamges. These are ised for all calculations in images that must be shared between processes. If any image must bne scattered or gathered, then it should be in public image memory. See code.

How Dark subtractioon is done with multiople ranks

When doing dark subtraction, each rank has a copy of a back graound image. Images are scattered to all ranks. Each rank subtracts the back ground from its image. MpiGather than gets all computed iamges and sends to oputput.

It is more complicated if we must average many darks to compute the back ground image. The code comments document this, bit the basic steps are:
1. Detector spews out a total of N dark images.
2. MpiGather scatters images to all ranks, with each rank getting possibly differnet numbers of images, depending on how fast the detector is.
3. Each rank then computes a partial of its collection of images.
4. When N images have been scattered, all ranks send their partial sum of images to rank 1.
5. Rank 1 adds up all the iamges, and computes average image.
6. All ranks get a copy of the final average image, and store in own memory.
An example of this is in the code.

# How to do yoru own MPI calculations

There are two projects released:
detectorMPI.pro, which does only dark subtraction.
XpcsMPI.pro, which does dark sub, thresholding on noise, and simple image compression.
XpcsMPI.pro was created as shown below:

Make a new project based on detectorMPI

cp detectorMPI.pro xpcsMPI.pro
cp detectorMPI.pro.user xpcsMPI.pro.user

nedit xpcsMPI.pro
Find:detectorMPI Replace: xpcsMPI

nedit xpcsMPI.pro.user
Find:detectorMPI Replace: xpcsMPI

Now make your classes based on dark subtraction:
cp mpidarksubtract.cpp mpixpcs.cpp
cp mpigatherdark.cpp xpcsgather.cpp
cp mpiscatterdark.cpp xpcsscatter.cpp
cp mpidarksubtract.h mpixpcs.h
cp mpigatherdark.h xpcsgather.h
cp mpiscatterdark.h xpcsscatter.h
cp mpicontrolgui.ui xpcsgui.ui
cp mpicontrolgui.h xpcsgui.h
cp mpicontrolgui.cpp xpcsgui.cpp

For the xpcsgui.ui file, nedit it, and Find/Replace to change class name to xpcsGui. Do the same for the xpcsgui.h, and cpp files as well. This makes a copy of the gui you can work on.

Open QTCreator
Add Existings Items to Headers and Source files.

Remove the older version of the files from the projects, these:
mpidarksubtract.cpp mpigatherdark.cpp mpiscatterdark.cpp
mpidarksubtract.h mpigatherdark.h mpiscatterdark.h
Make a new main() file
cp main_mpi.cpp main_xpcs.cpp
Add to the QT project. Edit it so it will make objhects for the new project, and not dark subract.

Edit each of yoru new files and change the Class names with Find/Replace to
somthing like mpiXPCS or something... Rememver to change the #ifndef XXXX at top of the h files.

Add your new files to any repo to make sure they are saved.

## Make a GUI
The first thing to do is to design your user interface. This defines what the user inputs to the program, and what is controlled in the MPI calcs. It will help to make a list of all the things detector MPI must do.

Use QTCreator to drop buttons etc. Onto your GUI. The GUI included is a good start. It has a the follwoing tabs:
1. Input- where data originates.
2. Calcs- what calculations are done on the data in MPI
3. Output- where output data is sent after MPI calcs.
4. Debug- controls to help debg the probrelm.
5. Start- start and stop/ display images.

Goto the QT website for info on how do develop a GuI in QT.

DetectorMPI Gui

QTCreator gui design.

The C code that correspond to the GUI is in mpiControlGui.cpp. This file has a fuinction that executes for each button that is pressed. These functions are generated by QTCreator for you. See QT website.

## Put GUI Settings into a class
Once you figure out the controls on the GUI, edit the file signalmessage.h. Edit the class guiMessageFields to reflect all valuies that are set uip in the GUI. When you hit a button on the GUI, a value in a guiMessageFields object sould be set. This is done by having a QT slot for each control on the GUI screen. On the GUI screen, right click on the QTCreator design screen, and goto Slot. In the code, set the gui control value into the guiMessageFields object.

When you update the GUI, this guiMessageFields objwect will be sent as a QT signal to the MPI code, and then sent as MPI message to all MPI processes in the detecotrMPI proram. In rthis way, your gui settings are sent to all processes in the MPI program.

## Edit imagequeitem.h
The class iamgeQueueItem defines the image structure. It has fields like size_x, size_y, and a pointer to its data. You may wish to change its data type, or add more fields and data to this class.

You must edit imageSpecs class.
Also you muist edit imageQueueItem to add your data fields.

The image queues allow the detectior and MPI to run at different rates. There are two queues before the MPI calculations,. A free queue, with empty images, and a data queu, with fresh images from the detector. Code containied in pipeReader will take items from free queue, fill it in with image data, and place on the data queue. Then pipeReader sends out a signal to mpiScatter, telling it new iamges are available for the MPI calcs.

## Subclass of mpiScatter
The next step is to either edit mpiscatterdarh.h, cpp, or make a subclass of mpiScatter. MpiScatter is a class that gets your gui settings, then tells all MPI processes what your gu settings are. Also, fresh images from yoru detector come into mpiScatter, and mpiScatter sends them to all the MPI processes, then kicks off the MPI concuirrent calculations for each set of iamges.

In this class you will need to make code that is specific to your calculations. You will edit all the functions in mpiscatterdarh.cpp.

Functions you need to consider are:
gotMPIGuiSettings- which is called when gui is updated.
OnDeFifo, when a new iamge from detector is taken from the queue an meeds to be precessod
beforeDefifo, = called on new image sinal, bit before we dequeue anything.
AfterDefifo- called after we defifo all the new iamges, and just before MPI calcs are launched.

## Subclass of mpiEngine

To implement your calcs you can either subclass mpiEngine, or edit mpidarksubtract. Your calcs will go into the function doImgCalcs(). Also, gui settings must be delt with to make sure the MPI calcs are set up based on gui settings. This is done in beforeFirstCalc(). BeforeCalcs() is called by mpiScatter, after images have been scattered to all process, and just before mpi calcs are started.

You must also edit signalmessage.h to add any fields you need in the following classes:
newImgMessageFieds- a message that means a new image has come in. Image specs etc.
MpiBcastMessage- should have a guiMessageFields in it, so mpi gets the gui settings, also valies and fields to control the mpi calcs. This message is broadcast to all mpi processes during calculations.

These fields should match the code in your mpiengine::subclass.

## Edit mpiGather

MpiGather is a class that gathers up all the iamges from all the processes into one place. These iamges are put into a queue, and a signal is sent to the output code and gui to save the iamges and display them. For simple calculations, you will not need to edit mpiGather. For more complex computations you may need to gather several images from each rank, say a raw iamge, compressed iamge, and perhaps FFT of image. In this case you must edit or subclass mpiGather.

Altering Linux pipe data format

To alter the data format of images sent over limux pipes, edit or subclass the file pipebinaryformat.h and cpp. It is basically C file IO to read and write to pipes. Care should be taken to deal with broken pipes, when the pipe sender process goes away. The code shows an example of this.

Testing the input and output pipes

The file imageStreamTest.cpp is part of the QT project, but it is not compiled with it. It is meant to be compiled as a separate program with gcc. This program runs on the command line and simply dumps images to stdout. Compile the program as shown in the source code comments.

Run detectorMPI, getting imput from a named pipe. The name can be anythung like /local/madpipe shoen in the qui. You must make this pipe with
mkfifo /local/madpipe
You start the MPI code GUI by hitting start. The code will wait until images show up on the pipe.
Now in anther terminal you run
imgtest 1000 256 > /local/madpipe

imgtest will send 1000 imges of size 256x256 to local/madpipe. The MPI software will read the iamges and process.

To test the output pipe you have two options:
IN another terminal typa
  - cat </local/madoutpipe > myfile.bin
  - The above will read a pipe called /local/madoutpipe and store it to a file.
  - Run the detectorMPOI software with output pointed to a linux pipe called /local/madoutpipe.
  - You will need to create the pipe with mkfifo
You can run a SECOND copy of detectorMPI, reading input from /local/madoutpipe.
  - In this case the first detectorMPI write to madoutpipe.
  - The 2nd copy of detectorMPI reads from madoutpipe, and displays the images.

To keep a pipe open, say for sengding 1 image at a time from command lines:

sleep 9999999 > /local/madpipe &

Now when detectorMPI reads from taht pipe, it will not close if the sender goes away. So you can do this:
imgtest 1 256 > /local/madpipe
imgtest 1 256 > /local/madpipe
imgtest 1 256 > /local/madpipe

That is, we can send one image at a time from command line. DecectorMPI will keep reading.
You will want to kill the sleep process when done debugging.